| **Model WHS regulation (to be removed)** | **Comparable DG regulation** | **Rationale and/or additional comments** |
| --- | --- | --- |
| Reg. 336  Restriction on age of person who can supply hazardous chemicals | Reg. 80  Persons under 15 on sites | This is in conflict with Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulation 80 that prohibits the handling of any dangerous good by a person under 15 years old, if that person is not supervised by someone 18 years or older.  Regulation 336 is too narrow – focused on just one hazard (flammability) and only in the supply by a minor. |
| Reg. 347  Manifest of hazardous chemicals | Reg. 78  Manifest and dangerous goods site plan | Also delete Schedule 11 Placard and manifest quantities.  Schedule 11 is in conflict with the current Schedule 1 of Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulations 2007.  Schedule 1 of Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulations is used by the Department of Fire and Emergency Services and is simple to use and apply compared to the WHS Schedule 11. |
| Reg. 348  Regulator must be notified if manifest quantities to be exceeded | Reg. 25  Certain sites to be licensed (Act s.13) | Also delete Schedule 12 Manifest requirements.  Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulation already covers this requirement.  Dangerous goods site licensing applies if a site is storing or handling dangerous goods above manifest quantity in Schedule 1 of the Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulations. |
| Reg. 349  Outer Warning placards – requirement to display | Reg. 68    HAZCHEM placards, when and where required | Also delete Schedule 13 Placard requirements. |
| Reg. 350  Placard - requirement to display | Reg. 69 – 72  Placarding requirements | Also delete Schedule 13 Placard requirements. |
| Reg. 354  Identification of risk of physical or chemical reaction | Reg. 48  Risk assessment, requirements as to | Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulation 48 already covers this requirement.  This regulation is already covered by the general risk management requirements of Part 3.1 (specifically Reg. 34 & 35) of the WHS Regulations. |
| Reg. 361  Emergency plans | Reg. 75  Emergency plan required for some sites | Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulation 75 already covers this requirement. |
| Reg. 364  Containers for hazardous chemicals used, handled and stored in bulk | Reg. 61  Bulk dangerous goods not in IBCs, requirements as to | WHS Reg. 363 and Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulation 61 already covers this requirement. |
| Reg. 366  Stopping use of underground storage and handling systems | Reg. 62  Underground storage or handling systems for Class 3 dangerous goods and petroleum products, requirements for  Reg. 63  Decommissioned storage or handling systems to be cleaned etc. | Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulation 62 and 63 already covers this requirement. |
| Reg. 367  Notification of abandoned tank |  | As above. |
| Reg. 389  Management of risk by pipeline owner | Part 5 Dangerous goods pipelines  Regulations 87 to 116. | Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulations Part 5 already covers this requirement.  There is also a pipeline registration requirement in the Dangerous Goods Safety (Storage and Handling of Non Explosives) Regulations.  Note: WHS Reg. 328 1 (b) will also need to be removed. |
| Reg. 390  Pipeline builder’s duties |  | As above. |
| Reg. 391  Management of risks to health and safety by pipeline operator |  | As above. |